## Slide 1: Reactor Reflections
Data Analysis
On Drawing Conclusions
The Story

## Slide 2: Measurement Accuracy
There is no advantage to measuring one parameter to 3 significant digits if another parameter is only measured to 1 significant digit
Use appropriate significant digits

## Slide 3: Mass Balance
If the mass balance indicates an error then try to determine what caused the error
What did you measure?
  Tracer volume
  Flow rate
  pH
  Reactor volume
Which one of those measurements would explain the results you obtained?
When discussing errors include your assessment of the culpability of each measured parameter or assumption

## Slide 4: Errors in Residence Time
What are the two methods you used to calculate the residence time?
Why might the two estimates be different?
reason |  | because
Dead volume |  | 
Baffling head loss |  | 
Tracer addition, inlet, outlet |  | 
?
>
Not all volume is used
<
Volume increased

## Slide 5: Baffle Factor Calculations
Given our curve fitting technique, how will you calculate the baffle factor?
You could get a baffle factor based on when the model F curves pass through 0.1 or based on when the data F curve passes through 0.1
The data curve baffle factor will vary as the tracer mass and residence time are varied by solver!
In either case the baffle factor is only as good as the curve fit!

## Slide 6: Serpentinity
What parameter(s) were you adjusting when you created a more serpentine path?

## Slide 7: Lab Reports as Stories
When you write a report you are designing an experience for the reader
The reader experiences it linearly (sequentially!)
Prepare the reader
  This is what you are going to see
    Ex. emphasize what you want the reader to see in the next Figure
  Show the figure (or equation)
  Tell the meaning of what you just saw
  How does this lead to the next step
  The Story

## Slide 8: Sequential Story and Logic Check
Look at your Discussion Section
Look at the overall order of the paragraphs
  Read it as if you missed the last 3 weeks…
  Is the order logical?
  Is the reader missing information?
Read every sentence
  Check for logic
  Make each sentence justify its existence

## Slide 9: Critique Your Own Work!
Don’t make a conclusion unless you are willing to defend it
Discuss its weaknesses and how you would improve it if given another chance
Assess the validity of your data and of your conclusions
Are you willing to spend a million dollars to build a facility using a design based on your results?

## Slide 10: Suggestions and Comments
The best ones focus on pedagogy (how could I improve the learning environment)
What are requirements that don’t produce much learning?
How could requirements be changed to increase the learning?