## Slide 1: Carbon Adsorption

## Slide 3: Theory of Operation
Velocity of a compound through the column depends upon affinity for the stationary phase
Area under curve is ______ of compound adsorbed to stationary phase
Gas phase concentration
Carrier gas
mass

## Slide 4: Mass Transfer zone slowly moves through the fixed bed adsorber
Effluent Adsorbate Concentration
C
Time

## Slide 5: Mass Transfer Zone
C
Time
Mass Transfer Zone
Efficient removal of the adsorbate
Mass transfer zone breakthrough
Loaded zone
Clean zone

## Slide 6
Effluent Adsorbate Concentration
C
Time

## Slide 7
Downflow through Carbon Column
Valve
Tee
Effluent
Photometer
Reverse Osmosis water
Red dye #40